
3 in 1 Commode      

Product Detail 

• Versatile 3-in-1 design can be used as a bedside commode, raised toilet seat or toilet safetyframe. 
• Welded steel construction provides strength and stability. 
• Increased seat depth provides added stability and comfort. 
• Durable, grey-coated steel frame is attractive and easy to clean. 
• Contoured waterfall armrests are designed to enhance user co mfort and provide a good gripping surface. 
• Sturdy plastic seat snaps-on easily. 
• Seat height readily adjusts from 17 ½" to 24 ½", in 1 inch increments.

• Comes complete with commode pail, cover and splash shield. 
• Designed to meet the requirements of HCPCS code: E0163. 
• Limited lifetime warranty.
	StockCode - Description
	Width Between Arms
	Overall Width
	Seat Width
	Seat Depth
	Seat Height Range
	Weight Capacity
	Replacement Tip

	7103 - 
	19"
	23.75"
	14"
	16.5"
	17.5" - 24.5"
	300 lb
	LX9141


