                                  
 INCLUDEPICTURE "http://www.grahamfield.com/ProductImages/PRD_7956A_1_400.jpg" \* MERGEFORMATINET 


7956A7958A

             Padded Transfer Bench/Commode
             Product Detail 

• Provides assistance to those who have difficulty stepping over bathtub walls.
• Comfortable, cushioned seat and backrest are water-tight and easy to clean.
• Anodized aluminum frame is lightweight, durable and rust-resistant.
• Side support arm aids in lateral transfer.
• Seat height is adjustable in 1" increments.
• Reversible to accommodate any bathroom.

• Attractive platinum grey color.
• Comes assembled with tool-free arm and back attachments.
• 300 lb. maximum weight capacity.
• Designed to meet the requirements of HCPCS code: EO247.
• Lifetime limited warranty.

	
	[image: image2.png]





	StockCode - Description
	Overall Width
	Overall Depth
	Seat Width
	Seat Depth
	Minimum Seat Height
	Maximum Seat Height
	Clearance Beneath Frame
	Height Of Back Support Above Seat
	Weight Capacity
	Diameter Commode Opening

	7956A - Commode Transfer Tub Bench, with pail and cover
	29 ¼"
	16 ¾"
	25"
	15 ¾"
	17 ½"
	22"
	14" - 18 ½"
	16"
	300 lb
	8"

	7958A - Commode Transfer Tub Bench, tub clamp and swing arm, pail and cover
	29 ¼"
	16 ¾"
	25"
	15 ¾"
	17 ½"
	22"
	14" - 18 ½"
	16"
	300 lb
	8"


