
RECLINING SHOWER CHAIR

Product Detail

· Back is adjustable to five reclining positions.
· Comes with a deluxe padded toilet seat 
· Dual drop arms that allow for patient transfer can be secured with red safety straps.  
· Safety belt and 3" heavy duty casters (rear locking) standard
· One year limited warranty on PVC frame; six month limited warranty on all other materials.  
· 325 lb maximum weight capacity.

	StockCode - Description
	Overall Height
	Seat Height
	Overall Width
	Seat Width
	Overall Depth
	Seat Depth
	Weight Capacity
	Width Between Arms

	89333 - Reclining Shower Chair
	48"
	21"
	24"
	14 ¾“
	41"
	18"
	325 lbs
	20"


