
 INCLUDEPICTURE "http://www.grahamfield.com/ProductImages/PRD_2940B_1_400.jpg" \* MERGEFORMATINET 


    2840GA
Bariatric Trapeze


Item# 2940B
Product Detail

Helps patient safely change position in bed and transfer from bed to other equipment with minimal assistance. Ideal for heavier patients.

·  Rubber bumper guards protect walls. 

·  Handbar location fully adjustable. 

·  Height adjustable from 43" to 52". 

·  450 Lbs assisted weight capacity

·  Comes with floor stand.   

·  Meets requirements for HCPCS code E0912. 

Floor Stand Trapeze

Item# 2840GA

Product Detail

Helps patient safely change position in bed and transfer from bed to other equipment with minimal assistance

• Assisted weight capacity of 250 lbs.
• Individually-leveled floor bars provide firm, secure base.
• Folds flat for easy storage and handling.

	StockCode - Description

	Base Width

	Base Depth

	Height


	2840A - Chrome-plated

	40"

	29.2"

	39"


	2840GA - Gray

	40"

	29.2"

	39"



	

	

	
	

	
	
	

	[image: image2.png]



	
	
	


