                          [image: image1.jpg]


   [image: image2.jpg]



The HybridLX is an innovative rollator that combines the function of a wheeled walker and a transport chair into one lightweight design. Keeping the patient’s desire for independence and comfort in mind, the HybridLX is designed with secure handgrips, a comfortable and wide seat and backrest, and the effortless design to transition from a rollator to a transport chair.

Other Features Include: 
· Lightweight frame – durable, aluminum frame weighs only 22 lbs (this includes footrests) making it easier for users to move about freely 

· Hybrid concept – designed to be used primarily as a rollator while easily transforming into a transport chair with removable footrests (adjustable in length) when user needs a short rest 

· Ultra-Compact design – easy to assemble without the need for tools and folds effortlessly for convenient transport and storage 

· Easy-to-use handbrakes – allow for short and longer period braking when used as rollator and transport chair (user must be accompanied when using as a transport chair) 

· Flexible, soft polyester backrest and 18" wide mesh seat with pull up strap for easy folding provides comfort for user 

· Large 8" wheels for easy rolling indoor and outdoor on rough surfaces 

· Complete with storage pouch for personal items 

· Available in attractive, contemporary colors: Titanium and Majestic Blue 

· Warranty: 3 years on Frame, 1 year on other components 

· Designed to meet the requirements of HCPCS E0143 & E0156 


Specifications
	Width Inside Handgrips
	18.5" (470mm)

	Overall Width
	26" (660mm)

	Overall Depth (with footrests)
	40" (1025mm)

	Depth Front to Rear
	28.5" (730mm)

	Seat Width
	18" (460mm)

	Seat Depth
	11" (280mm)

	Seat to Floor
	21.25" (540mm)

	Wheels
	8" Black, PVC

	Minimum Handle Height
	30" (770mm)

	Maximum Handle Height
	37" (945mm)

	Approx. User Height
	5'4" - 6'2"

	Weight Capacity
	300 lbs

	Product Weight
	22 lbs (9.88kg) with footrest


