                                                 
Recliner Wheel Chair

Product Detail

The same built-in quality as the standard Traveler with the addition of a full reclining back. The back features unlimited adjustments using easy, finger-trigger hinge and cable mechanisms. The Traveler Recliner comes with a higher back and removable full support headrest. Rear axles are mounted further back than on standard Traveler for added stability. Anti-tippers standard. Meets Medicare K0001 / E1226 (Recliner Back) / E0966 (Head Rest Extension) specifications.
• Maximum weight capacity 250 lb.
• 17" seat depth.
• 2 year limited warranty on frames and cross braces. 

	Stock Code
	SEAT
	BACK
	OVERALL
	WT.

	
	[image: image1.png]



	[image: image2.png]



	[image: image3.png]



	[image: image4.png]



	[image: image5.png]



	[image: image6.png]



	[image: image7.png]



	[image: image8.png]



	LBS.

	51012130 
Traveler Recliner, 18x17 Desk Arm, Elevating Legrest
	18"
	17"
	19 ¾" 
	23 3/8"
	36"
	53 1/8"
	26 ¼"
	13"
	55 lb

	51012150 
Traveler Recliner,18x17 Full Arm, Elevating Legrest
	18"
	17"
	19 ¾" 
	23 3/8"
	36"
	53 1/8"
	26 ¼"
	13"
	55 lb

	51012230 
Traveler Recliner,16x17 Desk Arm, Elevating Legrest
	16"
	17"
	19 ¾" 
	23 3/8"
	36"
	53 1/8"
	24 ¼"
	11"
	55 lb

	51012250 
Traveler Recliner,16x17 Full Arm, Elevating Legrest
	16"
	17"
	19 ¾" 
	23 3/8"
	36"
	53 1/8"
	24 ¼"
	11"
	55 lb

	51012330 
Traveler Recliner,20x17 Desk Arm, Elevating Legrest
	20"
	17"
	19 ¾" 
	23 3/8"
	36"
	53 1/8"
	28 ¼"
	13"
	55 lb

	51012350 
Traveler Recliner,20x17 Full Arm, Elevating Legrest
	20"
	17"
	19 ¾" 
	23 3/8"
	36"
	53 1/8"
	28 ¼"
	13"
	55 lb


