                        
Stainless Steel Deluxe 4-Hook I.V. Stand

Item# 7015A

• Circular, “Ram-Horn” hooks provide secure suspension of solution containers.
• Friction-grip lock permits height adjustment without danger of slipping.
• Tower rod cushioned to absorb noise if accidentally dropped.
• Cast-aluminum five-leg base with satin finish.
• Height adjustable from 48" to 86".
• Designed to meet the requirements of HCPCS code: E0776. 

