
Bariatric Transfer Bench
Product Detail 

• Provides assistance to those who have difficulty stepping over bathtub walls.
• Durable blow-molded plastic bench and backrest provide a 600 lb. weight capacity.
• Drainage holes in seat minimize water build-up.
• Extra-deep seat provides added stability.
• Anodized aluminum frame is lightweight, durable and rust-resistant.
• Seat height is adjustable in 1" increments.
• Reversible back attachment to accommodate any bathroom.
• Attractive platinum grey color.
• Comes assembled with tool-free back attachment.
• Designed to meet the requirements of HCPCS code: EO248.

	StockCode - Description
	Overall Width
	Overall Depth
	Seat Width
	Seat Depth
	Minimum Seat Height
	Maximum Seat Height
	Clearance Beneath Frame
	Height Of Back Support Above Seat
	Weight Capacity

	7925A - Bariatric Transfer Bench
	29 ½"
	20 ½"
	26 ¾"
	16 ¼"
	16"
	20"
	14" - 18"
	13"
	600 lb


