                                     
Drop Arm Commode

Product Detail  

• Arms drop independently below seat level for safe lateral transfers.
• Easy-to-release drop arm mechanism may be operated by patients lacking manual dexterity.
• Arms automatically lock in raised position.
• Removable backbar facilitates use as a bedside commode, raised toilet seat, or toilet safety frame.
• All welded steel construction increases strength and stability.
• Durable, grey-coated steel frame is attractive and easy to clean.
• Cushioned armrests enhance user comfort.
• Sturdy plastic seat snaps-on easily.
• Seat height readily adjusts from 18 ¾" to 22 ¾", in 1 inch increments.
• Comes complete with commode pail, cover and splash shield.
• Designed to meet the requirements of HCPCS code: E0165.
• Limited lifetime warranty. 

	Stock Code - Description
	Width Between Arms
	Overall Width
	Seat Width
	Seat Depth
	Seat Height Range
	Weight Capacity
	Replacement Tip
	Padded Seat Width
	Padded Seat Depth

	6433A-2 - 
	18"
	23 ¾"
	14"
	16 ¾"
	18 ¾" - 22 ¾"
	300 lb
	9130
	N/A
	N/A


