[image: image1.jpg]



Padded Shower Chair
Product Detail  

• Comfortable, cushioned seat and backrest are water-tight and easy to clean.
• Anodized aluminum frame is lightweight, durable and rust-resistant.
• Seat height is adjustable in 1" increments.
• Attractive platinum grey color.
• Available with or without support arms.
• Comes assembled with tool-free arm and back attachments.
• 300 lb maximum weight capacity.
• Designed to meet the requirements of HCPCS code: E0245.
• Lifetime limited warranty.
	Stock Code - Description
	Overall Width
	Overall Depth
	Seat Width
	Seat Depth
	Minimum Seat Height
	Maximum Seat Height
	Height Of Back Support Above Seat
	Weight Capacity

	7944A - Without Support Arms
	20 ½"
	21"
	15 ¾"
	16"
	17 ½"
	22 ½"
	16"
	300 lb

	7945A - With Support Arms
	20 ½"
	21"
	15 ¾"
	16"
	17 ½"
	22 ½"
	16"
	17 ¾"
	300 lb


