                                    
Bariatric Easy Lift STS

Item# LF2090 
Product Detail

· Heavy-gauge steel construction. 

· Designed to provide quick, safe assistance to those who have trouble standing. 

· Unique, ergonomic foot pedal base opening. 

· Large, easy to grip handles for easy maneuvering. 

· Lower base height maximizes stability and fits under most beds. 

· Rubber base coating protects furniture and walls. 

· Adjustable kneepad unit. 

· Quick release removable foot platform. 

· Optional buttock strap for patients requiring additional support. 

· 24V DC motor allows quiet, smooth operation. 

· Ergonomically designed hand pendant with pendant hook. 

· Warning beep for low battery charge and weight capacity levels. 

· Interchangeable battery works with other Lumex Easy lifts. 

· Easy access emergency stop button. 

· Maximum weight capacity 600 lb. 

· White powder-coated finish. 

· Accessory storage bag included for slings and charger. 

· 1 year limited warranty. 

	StockCode - Description
	Type
	Max Weight Capacity
	Floor Clearance
	Lifting Range Min Height
	Max Height
	Overall Length
	Overall Width
	Max Base Width
	Min Base Width
	Weight
	Motor
	Warranty Frame
	Battery

	LF2090 - 
	Electric Sit-Stand
	600 lb
	4.0"
	33.0"
	68.0"
	40.0"
	26.5"
	37.0"
	37.0"
	122 lb
	24v DC
	1 yr
	1 yr


