[image: image1.jpg]


                  [image: image2.jpg]



Bariatric Bath Seat

Product Detail:

Durable blow-molded plastic seat with optional backrest accommodate up to 500 lb weight capacity.

Anodized aluminum frame is lightweight, durable and rust resistant.

Seat height is adjustable in 1” increments.

Attractive platinum grey color.

Comes assembled with tool-free back attachment.

Includes laminated color operating instructions.

Designed to meet the requirements of HCPCS code. E0245.

Lifetime limited warranty.

	Stock Code - Description
	Overall Width
	Overall Depth
	Seat Width
	Seat Depth
	Minimum Seat Height
	Maximum Seat Height
	Weight Capacity

	7932A - Without Back
	18"
	16 ¾"
	17 ¾"
	12"
	14"
	17"
	600 lb

	7939A - With Back
	18"
	20 ½"
	17"
	16 ¼"
	16"
	20"
	13"
	600 lb


