                                                
Easy Lift Patient Lifting System – Bariatric
Item# LF1090

Product Detail

• Heavy-gauge steel construction.
• Six-point spreader bar with 360° rotation tilts for extra comfort and safety.
• Uses Lumex six-point, four-point slings or 2-point slings.
• Unique, ergonomic foot pedal leg opening.
• Large, easy to grip handles for easy maneuvering.
• Lower base height maximizes stability and fits under most beds.
• Rubber base coating protects furniture and walls.
• 24V DC motor allows quiet smooth operation.
• Ergonomically designed hand pendant with pendant hook.
• Warning beeps for low battery charge and weight capacity levels.
• Easy access emergency stop button.
• Emergency manual lowering device.
• Available with maximum weight capacity of 600 lb.
• White powder-coated finish.
• Accessorystorage bag included for slings and charger.
• Optional digital scale available.
• Designed to meet the requirements of HCPCS code:E0635.
• 1 year limited warranty. 

	StockCode - Description
	Type
	Max Weight Capacity
	Floor Clearance
	Lifting Range Min Height
	Max Height
	Overall Length
	Overall Width
	Max Base Width
	Min Base Width
	Weight
	Motor
	Warranty Frame
	Battery

	LF1090 - 600 lb weight capacity
	Electric
	600 lb
	5.75"
	27.0"
	71.0"
	50.0"
	26.2"
	43.0"
	26.2"
	137.0 lb
	24v DC
	1 yr
	1 yr


