
 INCLUDEPICTURE "http://www.grahamfield.com/ProductImages/PRD_LF1040_1_400.jpg" \* MERGEFORMATINET 


      
Everyday Electric Lift


Item# LF1040

Product Detail

• Heavy-gauge steel construction.
• Six-point spreader bar with 360° rotation.
• Uses Lumex® six-point, four-point slings or 2-point slings.
• Manually adjustable base.
• 24V DC motor allows quiet smooth operation.
• Ergonomically designed hand pendant with pendant hook.
• Easy access emergency stop button.
• Maximum weight capacity 400 lb.
• Blue powder-coated finish.
• Optional digital scale available.
• Designed to meet the requirements of HCPCS code:E0635
• 1 year limited warranty 

	StockCode - Description
	Type
	Max Weight Capacity
	Floor Clearance
	Lifting Range Min Height
	Max Height
	Overall Length
	Oeverall Height
	Overall Width
	Max Base Width
	Min Base Width
	Weight
	Motor
	Warranty Frame
	Battery

	LF1040 - 
	Electric
	400 lb
	5.5"
	27.4"
	77.7"
	45.3"
	55.1"
	25.6"
	39.4"
	25.6"
	115 lb
	24v DC
	1 yr
	1 yr


