
 INCLUDEPICTURE "http://www.grahamfield.com/ProductImages/PRD_LF1030_1_400.jpg" \* MERGEFORMATINET 


  LF1030CH

HYDRAULIC LIFT LF1030



Product Detail

• Heavy gauge steel construction.
• Six point spreader bar with 360° rotation.
• Uses Lumex® six-point, four-point slings or 2-point slings.
• Manually adjustable base
• Ergonomic placement of hydraulic pump handle facilitates ease of use.
• Disassembles for easy storage.
• Available in either chrome-plated or blue powder-coated finish.
• Maximum weight capacity 400 lb.
• Optional digital scale available.
• Designed to meet the requirments of HCPCS code:E0630.
• 1 year limited warranty. 

	StockCode - Description
	Type
	Max Weight Capacity
	Floor Clearance
	Lifting Range Min Height
	Max Height
	Overall Length
	Oeverall Height
	Overall Width
	Max Base Width
	Min Base Width
	Weight
	Motor
	Warranty Frame
	Battery

	LF1030 - 
	Hydraulic
	400 lb
	5.5"
	27.4"
	77.7"
	45.3"
	55.1"
	25.6"
	39.4"
	25.6"
	94.8 lb
	
	1 yr.
	

	LF1030CH - 
	Hydraulic
	400 lb
	5.5"
	27.4"
	77.7"
	45.3"
	55.1"
	25.6"
	39.4"
	25.6"
	94.8 lb
	
	1 yr.
	


