                                              
PADDED TRANFER BENCH WITH BACK

· Seat dimensions – 23"w x 15.5"d 

· Seat height adj. – 18.5" - 22.5" 

· Weight capacity – 300lbs. 

· Overall dimensions – 30"w x 16"d 

· Padded seat and back add comfort when bathing 

· Removable back 

· Anodized aluminum frame 

· Non-skid suction tips

