
Sure-Lift™ Quick Raiser




Item#  LF2011

Product Detail 

• Designed to provide quick, safe assistance to those who have trouble standing.
• Compact, lightweight design facilitates easy, comfortable patient transfers.
• Eight wheels improve maneuverability and weight distribution.
• Unique slanting column lifts the patient up and forward, mimicking natural movement of the body.
• Includes adjustable knee cushions and knee strap.
• Detachable battery for easy recharging.
• Easy access emergency stop button.
• Long life, rechargeable NiCad battery.
• Battery is interchangeable with other Lumex Sure-Lift patient lifts.
• Maximum weight capacity 360 lb.
• Padded Easy Raiser belt sold separately.
• Designed to meet the requirements of HCPCS code:E0635.
• 2 year limited warranty on frame.
• 1 year warranty on battery. 

	StockCode - Description
	Type
	Max Weight Capacity
	Floor Clearance
	Lifting Range Min Height
	Max Height
	Overall Length
	Oeverall Height
	Overall Width
	Weight
	Motor
	Warranty Frame
	Battery

	LF2011 - 
	Electric Sit-Stand
	360 lb
	3.0"
	40.5"
	68.5"
	39.4"
	62.0"
	23.8"
	75.0 lb
	24v DC
	2 yr
	1 yr


